| SAULT COLLEGE OF APPLIED ARTS AND TECHNOLOGY SAULT STE. MARIE, ONTARIO Sault College # COURSE OUTLINE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE TITLE: | ELECTRICAL THEORY II |  |  |  |  |
| CODE NO. : | ELR720 |  | SEMESTER: |  |  |
| PROGRAM: | CONSTRUCTION AND MAINTENANCE ELECTRICIAN |  |  |  |  |
| AUTHOR: | CALEB COND |  |  |  |  |
| DATE: | JAN 2009 | PREVIOUS OUTLINE DATED: |  |  | OCT 2006 |
| APPROVED: |  |  |  |  |  |
|  | ## “Corey Meunier” ## CHAIR |  |  |  | _______ DATE |
| TOTAL CREDITS: |  |  |  |  |  |
| PREREQUISITE(S): |  |  |  |  |  |
| HOURS/WEEK: | 6 |  |  |  |  |
| ## Copyright ©2008 The Sault College of Applied Arts & Technology Reproduction of this document by any means, in whole or in part, without prior ## written permission of Sault College of Applied Arts & Technology is prohibited. |  |  |  |  |  |
| ## For additional information, please contact Corey Meunier, Chair |  |  |  |  |  |
| School of Technology & Skilled Trades |  |  |  |  |  |
| (705) 759-2554, Ext. 2610 |  |  |  |  |  |

| I. | COURSE DESCRIPTION: This is a course covering the topics of magnetism, DC machines and AC circuit theory. |
| --- | --- |

| II. | LEARNING OUTCOMES AND ELEMENTS OF THE PERFORMANCE: Upon successful completion of this course, the student will demonstrate the ability to: |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. 12. 13. 14. 15. 16. 17. 18. 19. 20. 21. 22. 23. 24. 25. 26. 27. 28. 29. 30. 31. | Describe magnetic flux and flux density Solve problems associated with magnetic energy, including magnetic potential difference, flux density, reluctance, permeance, and permeability List and explain the factors that affect the magnitude and direction of induced EMF in single conductors and in coils Describe factors which affect inductance and perform related calculations State Fleming’s hand rules State and apply Lenz's law Describe the creation and effects of eddy currents Describe the construction, operation and characteristics of Permanent Magnet, separately excited, shunt , series and compound (cumulative and differential) DC motors and generators Draw connection diagrams for all types of DC motors and generators Describe a sine wave, calculate RMS average, maximum and instantaneous values Explain and calculate frequency, electrical and mechanical degrees Interpret and calculate phasors, vectors, and vector diagrams Describe the effects of alternating voltage and current in a resistive device Describe inductance, self inductance and characteristics of a coil connected to a DC source Describe the characteristics of a coil connected to an AC source Calculate inductive reactance, voltage, current and power of an inductive circuit Describe capacitance and the characteristics of a capacitor connected to a DC source Describe the characteristics of a capacitor connected to an AC source Calculate the capacitive reactance, voltage, current, power and phase relationships of a capacitive circuit Calculate the values for RL/RC/RLC series circuits Describe and calculate resonant circuits Describe and calculate resonant circuits and phase relations Explain and calculate RL/RC parallel circuits Label, describe and calculate values for RLC parallel circuits Describe the method for testing RLC parallel circuits Explain and calculate RLC parallel circuits Explain and calculate the efficiency of AC loads as related to power factor correction Explain the effects of power factor correction Calculate power factor correction for single-phase loads Describe the principles of operation of various types of single phase transformers Determine and perform calculations involving turns/voltage/current ratios for single phase transformers |  |

| III. 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. 12. 13. 14. 15. 16. | TOPICS: Magnetism Magnetic Induction Basic Trigonometry and Vectors Alternating Current (AC) Inductance in AC circuits Resistive-Inductive Series Circuits Resistive-Inductive Parallel Circuits Capacitor Capacitor in AC Circuits Resistive-Capacitive Series Circuits Resistive-Capacitive Parallel Circuits Resistive-Inductive-Capacitive Series Circuits Resistive-Inductive-Capacitive Parallel Circuits Single Phase Transformers DC Generators DC Motors |
| --- | --- |

| IV. | REQUIRED RESOURCES/TEXTS/MATERIALS: Delmar’s Standard Textbook of Electricity By Stephen L. Herman |  |
| --- | --- | --- |

| V. | EVALUATION PROCESS/GRADING SYSTEM: Theory 100% |
| --- | --- |
|  | The following semester grades will be assigned to students: |

|  | ## Grade | # Definition | Grade Point Equivalent |
| --- | --- | --- | --- |
|  | A+ | 90 – 100% | 4.00 |
|  | A | 80 – 89% |  |
|  | B | 70 - 79% | 3.00 |
|  | C | 60 - 69% | 2.00 |
|  | D | 50 – 59% | 1.00 |
|  | F (Fail) | 49% and below | 0.00 |
|  | CR (Credit) | Credit for diploma requirements has been awarded. |  |
|  | S | Satisfactory achievement in field /clinical placement or non-graded subject area. |  |
|  | U | Unsatisfactory achievement in field/clinical placement or non-graded subject area. |  |
|  | X | A temporary grade limited to situations with extenuating circumstances giving a student additional time to complete the requirements for a course. |  |
|  | NR | Grade not reported to Registrar's office. |  |
|  | W | Student has withdrawn from the course without academic penalty. |  |

| VI. | SPECIAL NOTES: |
| --- | --- |
|  | Disability Services: If you are a student with a disability (e.g. physical limitations, visual impairments, hearing impairments, or learning disabilities), you are encouraged to discuss required accommodations with your professor and/or the Disability Services office. Visit Room E1101 or call Extension 2703 so that support services can be arranged for you. |
|  | Retention of Course Outlines: It is the responsibility of the student to retain all course outlines for possible future use in acquiring advanced standing at other postsecondary institutions. |
|  | Communication: The College considers WebCT/LMS as the primary channel of communication for each course. Regularly checking this software platform is critical as it will keep you directly connected with faculty and current course information. Success in this course may be directly related to your willingness to take advantage of the Learning Management System communication tool. |
|  | Plagiarism: Students should refer to the definition of “academic dishonesty” in Student Code of Conduct. Students who engage in academic dishonesty will receive an automatic failure for that submission and/or such other penalty, up to and including expulsion from the course/program, as may be decided by the professor/dean. In order to protect students from inadvertent plagiarism, to protect the copyright of the material referenced, and to credit the author of the material, it is the policy of the department to employ a documentation format for referencing source material. |
|  | Course Outline Amendments: The professor reserves the right to change the information contained in this course outline depending on the needs of the learner and the availability of resources. |
|  | Substitute course information is available in the Registrar's office. |

| VII. | PRIOR LEARNING ASSESSMENT: Students who wish to apply for advance credit transfer (advanced standing) should obtain an Application for Advance Credit from the program coordinator (or the course coordinator regarding a general education transfer request) or academic assistant. Students will be required to provide an unofficial transcript and course outline related to the course in question. Credit for prior learning will also be given upon successful completion of a challenge exam or portfolio. |
| --- | --- |