HMI 200		 Residential Construction II – Course Plan

| Week | Outcomes | Format | Hours | Topic/Content | Readings | Assignments | Assessment | Resources |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1,2 | 1,2 | Lecture Lab | 6 9 | Wall and ceiling framing Identify The main parts of wall frame Rough openings doors and windows Explain Methods of forming the outside corners and partitions Estimating materials required Describe construction and erection of wall sections and partitions Plate and stud layout Apply Trade related math Concepts of plate layout Construct and erect wall sections Double plate and wall sheeting Special framing and house wraps Ceiling framing and blocking | Chap. 9 pp. 253-280 | Workbook Chap. 9, pp. 49-54 | p. 281 Test ques. #1-15 Practical activities | Handouts, calculators, green tag safety boots, safety glasses. Text book Modern Carpentry, along with accompanying work book. Construction materials as arranged by instructor. |
| 3,4 | 1,2 | Lecture Lab | 6 9 | Roof framing Explain Various types of roofs Parts of a common rafter The terms slope and pitch Design and erection of trusses Identify Trade related math Roof supports Layout terms and principles and Rafter sizes and using a rafter table Framing plans Perform Use framing and speed squares Apply Layout a common rafter Erecting a gable roof and gable end frame Hip and valley rafters including jack rafters Applying math estimating | Chap. 10 pp. 283-325 | Workbook Chap. 10, pp. 55-63 | p. 326 Test ques. #1-20 Practical activities | As above and roof framing materials as provided, framing square, skill saw |
| 5,6 | 1,2,3 | Lecture Lab | 4 6 | Roofing materials and methods Identify List various roofing materials commonly used Define roofing terms Describe Prepare a roof deck Procedures for both asphalt and wood shingles Application procedures for a built-up roof Apply Demonstrate correct nailing patterns Demonstrate the proper positioning of gutters Estimate materials required for a specific roofing job | Chap. 12 pp. 343-392 | Workbook Chap. 12, pp. 67-74 | pp. 393-394 ques. #1-25 Practical activities | As above and roofing materials (asphalt and wood shingles, nails) |
| 7,8 | 1,2,4 | Lecture Lab | 4 6 | Windows and exterior doors Describe Window and door fabrication Window frame adjustments for wall thickness Procedures for installing a replacement window Identify Various types of windows Window schedule Procedures for installing standard windows Construction of garage door frames Apply Calculate required rough openings Prepare a rough opening for installation of a door frame Select appropriate garage door hardware | Chap. 13 pp. 395-432 | Workbook Chap. 13, pp. 75-80 | p. 433 Test ques. # 1-20 Practical activities | As above and window and door samples, installation materials |
| 9,10 | 1,5 | Lecture Lab | 4 6 | Exterior wall finishes Describe Parts of a cornice and rake Cornice and rake construction How wood siding and shingles are applied Proper application of bevelled siding Exterior insulation and finish systems Identify Various brick and stone, masonry materials and tools Installation of insulation board and stucco Apply Estimate the amount of siding on a structure Installation techniques for various siding materials | Chap. 14 pp. 435-480 | Workbook Chap. 14, pp. 81-87 | pp. 481-482 Test, ques. #1-25 Practical activities | As above and samples of various exterior material |
| 11,12 | 1,6 | Lecture Lab | 4 6 | Thermal and sound insulation Describe Principles of conduction, convection and radiation Types of insulation Methods of controlling moisture problems Construction that raise STC ratings in desired areas Identify Technical terms relating to thermal and acoustical properties Interpret thermal ratings charts Principle of condensation Apply Select appropriate areas for insulation in a given structure Procedures for installing batt and blanket, fill, rigid insulation Formula for R rating | Chap. 15 pp. 485-527 | Workbook Chap. 15, pp. 89-97 | p. 528 Test ques. # 1-20 Practical activities | As above and various types of insulation and vapour barriers |
| 13,14 | 1, 7 | Lecture Lab | 4 6 | Interior stair construction Discuss Interior stair design Review Various types of stairs Stair parts and terms Perform Calculate the rise-run ratio, number and size of risers and stairwell length Apply (continued from HMI 114) Prepare sketches of types of stringers for interior stairs Layout stringers for a given stair rise and run Splitting angles for mitre cuts Using stock interior stair parts Identifying the angles on preformed hand railing stock Prepare staircase hand rails Layout of winder stairs | Chap. 18 pp. 597-615 | Workbook Chap. 18, pp. 113, prepare for final test | p. 616 Test ques. # 1-10 Practical activities | As above and staircase materials and hand railings |
| 15 | 1,2,3,4,5,6,7 | Lecture, lab | 5 | Building project completion Complete term project work and all practical activities |  |  | Practical activities Final test |  |
| 16 | 1,2,3,4,5,6,7 |  | 5 | Review; take up and discuss final test / assignments / practical activities / sharing and feedback |  |  |  |  |