| SAULT COLLEGE OF APPLIED ARTS AND TECHNOLOGY SAULT STE. MARIE, ONTARIO Sault College # COURSE OUTLINE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE TITLE: | Electrical Power Systems |  |  |  |  |
| CODE NO. : | ELR 215 |  | SEMESTER: | Three |  |
| PROGRAM: | Electrical Engineering Technician/Technology |  |  |  |  |
| AUTHOR: | R. McTaggart |  |  |  |  |
| DATE: | 05/2007 | PREVIOUS OUTLINE DATED: |  |  | 05/2006 |
| APPROVED: |  |  |  |  |  |
|  | ## __________________________________ ## DEAN |  |  |  | _______ DATE |
| TOTAL CREDITS: | 3 |  |  |  |  |
| PREREQUISITE(S): | ELR 109 |  |  |  |  |
| HOURS/WEEK: | 3 |  |  |  |  |
| ## Copyright ©2007 The Sault College of Applied Arts & Technology Reproduction of this document by any means, in whole or in part, without prior ## written permission of Sault College of Applied Arts & Technology is prohibited. |  |  |  |  |  |
| ## For additional information, please contact Colin, Kirkwood, Dean |  |  |  |  |  |
| School of Technology, Skilled Trades, Natural Resources & Business |  |  |  |  |  |
| (705) 759-2554, Ext.2688 |  |  |  |  |  |

| I. | COURSE DESCRIPTION: This course is a study of the production, delivery and utilization of electrical power. Transmission and distribution equipment, system configurations, protection and control, and electrical load fundamentals will be discussed and analyzed |
| --- | --- |

| II. | LEARNING OUTCOMES AND ELEMENTS OF THE PERFORMANCE: |  |
| --- | --- | --- |
|  | Upon successful completion of this course, the student will demonstrate the ability to: |  |
|  | 1. | Perform basic calculations for three phase alternating current systems. |
|  |  | Potential Elements of the Performance: - Convert actual power, voltage, current and impedance values to per unit values. - Convert per unit electrical values to actual values. - Reduce series/parallel networks to a single source/single impedance network. - Solve a network using per unit and/or actual values for power, voltage and current levels throughout (balanced conditions). - State the advantages and disadvantages of using the per unit method for calculating electrical parameters of power systems. - Describe how real power flow is controlled in a power system and state the corresponding system indicators. - Describe how reactive power flow is controlled in a power system and state the corresponding system indicators. |
|  | 2. | Describe various options presently available for bulk generation of electrical power as well as those under consideration for future use. |
|  |  | Potential Elements of the Performance: - Describe the history of bulk electrical power generation in North America. - State the three major categories of bulk electrical power generating stations in use today. - State and briefly describe alternative sources of power generation that are presently being utilized. - State and briefly describe potential future sources of electrical energy that are presently in the design or test stage. - Identify all major mechanical and electrical components of a typical hydro generating station. - Identify all major mechanical and electrical components of a typical thermal generating station. - State the common types of nuclear generating stations. - Identify all major mechanical and electrical components of common nuclear generating stations.. - Discuss components common to thermal and nuclear generating stations - Identify all major mechanical and electrical components of common wind power generating stations. - Discuss energy conversion processes in hydro, thermal, nuclear and wind generating stations. |
|  | 3. | Describe alternating current (ac) and direct current (dc) transmission systems and their components. |
|  |  | Potential Elements of the Performance: - Identify, state the purpose of, and describe each major component of an overhead transmission line. - Describe corona and associated problems. - Describe how lightning is created and its potential effects on a transmission line. - Describe and draw equivalent circuits for short, medium length and long ac transmission lines. - State how line impedance affects maximum power transfer of an ac transmission line. - List and comment on the advantages and disadvantages of dc power transmission. - Describe the various types of high voltage dc converter stations. |
|  | 4. | Describe transmission and distribution substations and their functions. |
|  |  | Potential Elements of the Performance: - State the difference between transmission and distribution and describe how their definitions may vary to match given situations. - List and describe the major components of a substation. - List and describe the major categories of circuit breakers. - Describe the operation and applications of various types of circuit breakers. - Describe various ‘name plate’ parameters used to identify ratings and capacities of substation equipment. - Describe various types of fuses and their operation. - Describe the purpose of system grounding. - Describe a typical substation grounding system. |
|  | 5. | Describe the purpose of protective relays and how they interface with the power system. |
|  |  | Potential Elements of the Performance: - List common electrical and mechanical faults that may occur in a power system. - State the primary functions of protective equipment. - Define protective relay. - List various types of protective relays and describe their operation. - Analyze time – current characteristic curves for various protective relays. - Discuss the concepts of coordinated fault protection and zone coverage of power systems. - Define symmetrical components using the alpha operator. |
|  | 6. | Describe the effects of harmonics on electrical power systems. |
|  |  | Potential Elements of the Performance: - Define harmonics. - List and describe terms used to quantify the effects of harmonics. - List components of a power system susceptible to damage from harmonics and describe what damage may occur and how to prevent or minimize it. |

| III. | TOPICS: |  |
| --- | --- | --- |
|  | 1. | Power System Analysis |
|  | 2. | Power Generation |
|  | 3. | Power Transmission |
|  | 4. | Substations |
|  | 5. | Protective Relays |
|  | 6. | Harmonics |

| IV. | REQUIRED RESOURCES/TEXTS/MATERIALS: Resource materials are available in the Sault College Library, from the instructor and on the Internet. No text purchase is required. |
| --- | --- |

| V. | EVALUATION PROCESS/GRADING SYSTEM: The final grade for the course will be determined as follows: 3 or 4 equally weighted tests: 100% See special notes below. |
| --- | --- |
|  | The following semester grades will be assigned to students: |

|  | ## Grade | # Definition | Grade Point Equivalent |
| --- | --- | --- | --- |
|  | A+ | 90 – 100% | 4.00 |
|  | A | 80 – 89% |  |
|  | B | 70 - 79% | 3.00 |
|  | C | 60 - 69% | 2.00 |
|  | D | 50 – 59% | 1.00 |
|  | F (Fail) | 49% and below | 0.00 |
|  | CR (Credit) | Credit for diploma requirements has been awarded. |  |
|  | S | Satisfactory achievement in field /clinical placement or non-graded subject area. |  |
|  | U | Unsatisfactory achievement in field/clinical placement or non-graded subject area. |  |
|  | X | A temporary grade limited to situations with extenuating circumstances giving a student additional time to complete the requirements for a course. |  |
|  | NR | Grade not reported to Registrar's office. |  |
|  | W | Student has withdrawn from the course without academic penalty. |  |

| VI. | SPECIAL NOTES: |
| --- | --- |
|  | Special Needs: If you are a student with special needs (e.g. physical limitations, visual impairments, hearing impairments, or learning disabilities), you are encouraged to discuss required accommodations with your professor and/or the Special Needs office. Visit Room E1101 or call Extension 703 so that support services can be arranged for you. |
|  | Retention of Course Outlines: It is the responsibility of the student to retain all course outlines for possible future use in acquiring advanced standing at other postsecondary institutions. |
|  | Communication: The College considers WebCT/LMS as the primary channel of communication for each course. Regularly checking this software platform is critical as it will keep you directly connected with faculty and current course information. Success in this course may be directly related to your willingness to take advantage of the Learning Management System communication tool. Students are expected to maintain an active Sault College email account. They are further required to check this email account daily. The instructor may announce details of test requirements and scheduling through the Sault College email system (as well as sharing other important information). |
|  | Plagiarism: Students should refer to the definition of “academic dishonesty” in Student Code of Conduct. Students who engage in academic dishonesty will receive an automatic failure for that submission and/or such other penalty, up to and including expulsion from the course/program, as may be decided by the professor/dean. In order to protect students from inadvertent plagiarism, to protect the copyright of the material referenced, and to credit the author of the material, it is the policy of the department to employ a documentation format for referencing source material. |
|  | Course Outline Amendments: The professor reserves the right to change the information contained in this course outline depending on the needs of the learner and the availability of resources. |
|  | Substitute course information is available in the Registrar's office. |
|  | If a student misses a test he/she must have a valid reason (i.e. medical or family emergency – documentation will be required). In addition, the instructor must be notified prior to the test sitting. If this procedure is not followed the student will receive a mark of zero on the test with no rewrite option. |

| VII. | PRIOR LEARNING ASSESSMENT: |
| --- | --- |
|  | Students who wish to apply for advanced credit in the course should consult the professor. Credit for prior learning will be given upon successful completion of a challenge exam or portfolio. |
| VIII. | DIRECT CREDIT TRANSFERS: Students who wish to apply for direct credit transfer (advanced standing) should obtain a direct credit transfer form from the Dean’s secretary. Students will be required to provide a transcript and course outline related to the course in question. |