| SAULT COLLEGE OF APPLIED ARTS AND TECHNOLOGY SAULT STE. MARIE, ONTARIO # COURSE OUTLINE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COURSE TITLE: | ROBOTIC AND PLC CONTROL SYSTEMS |  |  |  |  |
| CODE NO.: | ELR223 |  | SEMESTER: |  | #### FOUR |
| PROGRAM: | ELECTRICAL TECHNOLOGY |  |  |  |  |
| AUTHOR: | R. CHARTRAND |  |  |  |  |
| DATE: | JAN 2017 | PREVIOUS OUTLINE DATED: |  | JAN 2016 |  |
| APPROVED: | ## “Corey Meunier” |  |  | Dec 2017 |  |
|  | ## CHAIR |  |  | DATE |  |
| TOTAL CREDITS: | 6 |  |  |  |  |
| PREREQUISITE (S): | ELR109 – AC Cir Anal & Mach |  |  |  |  |
| HOURS/WEEK: | 4 |  |  |  |  |
| ## Copyright ©2017 The Sault College of Applied Arts & Technology Reproduction of this document by any means, in whole or in part, without prior ## written permission of Sault College of Applied Arts & Technology is prohibited. |  |  |  |  |  |
| ## For additional information, please contact Corey Meunier, Chair |  |  |  |  |  |
| School of Technology & Skilled Trades |  |  |  |  |  |
| (705) 759-2554, Ext. 2610 |  |  |  |  |  |

| I. | COURSE DESCRIPTION: The student will develop an understanding of PLC in general; understand the hardware and software associated will Allen Bradley 5000 family PLCs. PLC programming techniques using RS logic 5000 software will be used to design, document and commission basic to intermediate PLC lab assignments. The student will learn how to interface a PLC to control a Robot as the final Lab Assignment. Basic control theory associated with PLCs will be introduced to assist with lab assignment implementation. This course will require the student to work independently and / or in groups during lab times. The student will also be required to work independently on assigned work outside of class time and access information from help files, manuals, and internet as necessary to solve PLC related work problems. This is to prepare the student for PLC job related tasks. |
| --- | --- |

| II. | LEARNING OUTCOMES AND ELEMENTS OF THE PERFORMANCE: |  |
| --- | --- | --- |
|  | Upon successful completion of this course, the student will demonstrate the ability to: |  |
|  | 1. | Identify basic PLC hardware and software required for AB 5 PLCs. Potential Elements of the Performance: |
|  |  | - State the major advantages of a typical logic controller (PLC ) over conventional hardware relay systems - Identify the four major components of a typical PLC and describe the function of each - Define the term discrete - Define the term analog - Identify different types of programming devices - Describe the I/O section of a PLC - Define the term interposing relay - Define the term optical isolation - Describe how basic AC and DC input and output modules work |
|  | 2. | Develop an understanding of basic PLC ladder logic instructions, numbering systems and Demonstrate hardwiring techniques for AB 5000 PLCs. Potential Elements of the Performance: |
|  |  | - Describe the proper wiring connections for input devices and their corresponding modules - Explain why a hard-wire emergency-stop function is desirable - Describe the function of the PLC’s processor - Identify the two distinct types of memory - Explain the term on-line programming - Understand decimal, binary, hexadecimal, binary coded decimal (BCD) numbering systems - Identify a hard-wiring diagram - Understand the Examine ON, OFF, timers, counters move, limits test, sequencers and Internal Storage instructions - Describe basic programming techniques - Describe the Force On and Off features and hazards that could be associated with both |
|  | 3. | Develop and demonstrate basic programming techniques for AB 5000 PLCs using RS Logic software. |
|  |  | Potential Elements of the Performance: - the ability to program basic PLC functions offline - the ability to program PLCs to control - the ability to hard-wire PLCs to field equipment - the ability to add documentation to a PLC program |
|  | 4. | Demonstrate the ability to write basic PLC programs to control various electrical equipment in the lab and run the programs in a PLC in the lab. |
|  |  | Potential Elements of the Performance: - the ability to download a program to a PLC attached to a PC - the ability to download a program to a PLC from a remote PC over Ethernet through a gateway server to Data Highway then to a particular PLC in the Lab - the ability to online edit programs - the ability to upload a program to a PC from a PLC - the ability to program basic PLC functions online - the ability to program PLCs to control Motors, traffic lights, and robot - the ability to down toad a program to a local PLC and run a program - the ability to down load a program to a remotely located PLC from room B 1035 to room B 1060 over the Ethernet network to a gateway server to the AB data Highway to a particular PLC and run a program |
|  | 5. | Demonstrate the ability to connect PLCs to control various electrical equipment in the lab and run the programs in a PLC in the lab. Potential Elements of the Performance: |
|  |  | - the ability to hard-wire PLCs to field equipment and I/O cards - Use available recourses such as internet, manuals, help files, and handbooks to aid in project troubleshooting - Apply problem-solving techniques and use the knowledge of computer systems and application software to resolve technical problems associated with PLC assigned projects. - Use appropriate application software for programming, communication and troubleshooting projects - Wire, test and configure automation and control systems that maybe required by the assigned projects to be connected to a PLC such as Lights, Motors Control, traffic lights, and robot - Apply, install, test and troubleshoot PLC project related equipment, systems and tasks |
|  | 6. | Communicate information effectively and accurately by producing electrical PLC related equipment drawings and other related documentation. |
|  |  | Potential Elements of the Performance: - apply standards and standard symbols in the production of drawings - Use computers and selected tools and equipment to produce or reproduce drawings on CAD - Use and produce graphics such as single line drawings, schematics etc. as necessary to convey technical information for the associated projects assigned. - Use available recourses such as internet, manuals, help files and handbooks to aid in accurate project documentation. - Establish and document procedures required to successfully complete assigned projects - Document all work and produce a complete project manual |
| III. | TOPICS: |  |
|  | 1. | Overview of PLC terminology and principles |
|  | 2. | Overview of industrial controls and automation hardware/software. |
|  | 3. | Overview of RS Logic 5000 software |
|  | 4. | Overview of PLC/PC networking. |
|  | 5. | Basic PLC programming. |
|  | 6. | PLC Hardware |
| IV. | REQUIRED RESOURCES/TEXTS/MATERIALS: Instructor will indicate this in the first theory class Student RSLogix Software package is required for this course |  |

| V. | EVALUATION PROCESS/GRADING SYSTEM: ## (1) Theory Portion of ELR 223 total 35 marks ## Test 1 & take Home Q 15 marks 15% overall Test 2 & take Home Q 20 marks 20% overall ## (2) Lab Practical Portion of ELR 223 total 45 marks ## Practical Test 1 15 marks 15% overall ## Practical Test 2 25 marks 25% overall (3) Demonstration and Write-up Portion 20 marks ## Lab demonstrations 8 marks 8% overall Lab Write-ups and 9 marks 9% overall Quizzes_Attendence 8 marks 8% overall Total 100 marks 100 % |  |  |
| --- | --- | --- | --- |
|  | The following semester grades will be assigned to students in postsecondary courses: |  |  |
|  | Grade | Definition | Grade Point Equivalent |
|  | A+ | 90 - 100% | 4.00 |
|  | A | 80 - 89% | 4.00 |
|  | B | 70 - 79% | 3.00 |
|  | C | 60 - 69% | 2.00 |
|  | D (Fail) | 50 - 59% | 1.00 |
|  | F (Fail) | 49% and below | 0.00 |
|  | CR (Credit) | Credit for diploma requirements has been awarded. |  |
|  | S | Satisfactory achievement in field /clinical placement or non-graded subject area. |  |
|  | U | Unsatisfactory achievement in field/clinical placement or non-graded subject area. |  |
|  | X | A temporary grade limited to situations with extenuating circumstances giving a student additional time to complete the requirements for a course. |  |
|  | NR | Grade not reported to Registrar's office. |  |
|  | W | Student has withdrawn from the course without academic penalty. |  |

In order to maintain a passing grade the student must obtain a minimum 50% average in all subject sections that the course may have, such as, the (section 1) theory Tests, (section 2) Practical Tests, and (section 3)the Lab Write-ups and Demonstrations of Labs. All labs must function safely and correctly to be evaluated. The student must demonstrate all labs regardless of mark value to pass the course. Failure to demonstrate all correctly functioning lads will result in student being assessed F grade for ELR 223.

COURSE OUTLINE ADDENDUM

| 1. | Course Outline Amendments: The professor reserves the right to change the information contained in this course outline depending on the needs of the learner and the availability of resources. |
| --- | --- |
| 2. | Retention of Course Outlines: It is the responsibility of the student to retain all course outlines for possible future use in acquiring advanced standing at other postsecondary institutions. |
| 3. | Prior Learning Assessment: Students who wish to apply for advance credit transfer (advanced standing) should obtain an Application for Advance Credit from the program coordinator (or the course coordinator regarding a general education transfer request) or academic assistant. Students will be required to provide an unofficial transcript and course outline related to the course in question. Please refer to the Student Academic Calendar of Events for the deadline date by which application must be made for advance standing. Credit for prior learning will also be given upon successful completion of a challenge exam or portfolio. Substitute course information is available in the Registrar's office. |
| 4. | Accessibility Services: If you are a student with a disability (e.g. physical limitations, visual impairments, hearing impairments, or learning disabilities), you are encouraged to discuss required accommodations with your professor and/or the Accessibility Services office. Visit Room E1101 or call Extension 2703 so that support services can be arranged for you. |
| 5. | Communication: The College considers Desire2Learn (D2L) as the primary channel of communication for each course. Regularly checking this software platform is critical as it will keep you directly connected with faculty and current course information. Success in this course may be directly related to your willingness to take advantage of this Learning Management System (LMS) communication tool. |
| 6. | Academic Dishonesty: Students should refer to the definition of “academic dishonesty” in Student Code of Conduct. Students who engage in academic dishonesty will receive an automatic failure for that submission and/or such other penalty, up to and including expulsion from the course/program, as may be decided by the professor/dean. In order to protect students from inadvertent plagiarism, to protect the copyright of the material referenced, and to credit the author of the material, it is the policy of the department to employ a documentation format for referencing source material. |
| 7. | Tuition Default: Students who have defaulted on the payment of tuition (tuition has not been paid in full, payments were not deferred or payment plan not honoured) as of the first week of November (fall semester courses), first week of March (winter semester courses) or first week of June (summer semester courses) will be removed from placement and clinical activities due to liability issues. This may result in loss of mandatory hours or incomplete course work. Sault College will not be responsible for incomplete hours or outcomes that are not achieved or any other academic requirement not met as of the result of tuition default. Students are encouraged to communicate with Financial Services with regard to the status of their tuition prior to this deadline to ensure that their financial status does not interfere with academic progress. |
| 8. | Student Portal: The Sault College portal allows you to view all your student information in one place. mysaultcollege gives you personalized access to online resources seven days a week from your home or school computer. Single log-in access allows you to see your personal and financial information, timetable, grades, records of achievement, unofficial transcript, and outstanding obligations, in addition to announcements, news, academic calendar of events, class cancellations, your learning management system (LMS), and much more. Go to https://my.saultcollege.ca. |
| 9. | Recording Devices in the Classroom: Students who wish to use electronic devices in the classroom will seek permission of the faculty member before proceeding to record instruction. With the exception of issues related to accommodations of disability, the decision to approve or refuse the request is the responsibility of the faculty member. Recorded classroom instruction will be used only for personal use and will not be used for any other purpose. Recorded classroom instruction will be destroyed at the end of the course. To ensure this, the student is required to return all copies of recorded material to the faculty member by the last day of class in the semester. Where the use of an electronic device has been approved, the student agrees that materials recorded are for his/her use only, are not for distribution, and are the sole property of the College. |

|  | General Information to include in course outlines Classroom Etiquette: Pagers and cell phones should be either turned off or set to vibrate mode during class. Please show courtesy to the class by restricting conversation to in-class topics, and raise your hand to gain attention when asking a question or raising a point of discussion. Class Room Safety: Safety is the most important aspect in this course and any compromise in student safety by any other student will not be tolerated. Students that observe any unsafe lab condition and/or act must report it to the instructor immediately. Student safety in the Labs is the number one priority. Students are to contact the instructor before working on any live equipment that they are not familiar with or have not been instructed in the safety procedures of that particular equipment. Turning in Work : Be sure to include your name and the course name and section on all work to be turned in. Late Coursework : All assignments are to be turned in on the due date. Students may be allowed to make up any late work at the instructor’s discretion. Term tests/quizzes With the expectation that the student will attend all classes, there will be no make up tests for missed tests. There will be no rewrites for low-test scores. Attendance Sault College is committed to student success. There is a direct correlation between academic performance and class attendance; therefore, for the benefit of all its constituents, all students are encouraged to attend all of their scheduled learning and evaluation sessions. This implies arriving on time and remaining for the duration of the scheduled session. It is the departmental policy that once the classroom door has been closed, the learning process has begun. Late arrivers will not be granted admission to the room. Students' attendance and participation are required in all activities. If a student is absent from class, it is her/his responsibility to find out what was missed prior to the next class and complete any assigned work before the next class. Absence does not constitute a reason for missed work or late assignments. ADDITIONAL: Since all final work must be performed on special network PLCs located at the college, there is limited time to run tested and demonstrated labs at the college, therefore reading, review questions, planning and offline programming must be done outside of class time. All student assignment materials that are not picked up by the student will be held for a maximum of two weeks after grading. After this time materials may be discarded or used at the professor’s discretion. |
| --- | --- |
|  | Attendance may be monitored. Regular absentia may be reported to OSAP at the college’s discretion. |

Special Note:

All Students enrolled in ELR 223 will be required to purchase Notes and Labs package from the Sault College Book Store and also purchase a special RSlogix Student Software package from Westburne Ruddy Electric located on 64 White Oak Dr. Sault Ste. Marie before the first lab period for ELR 223. Instructor will inform the students in the first class about costs and other information about the above items.

Note: Student RSLogix Software package is required for this course!

In order to maintain a passing grade the student must obtain a minimum 50% average in all subject sections that the course may have, such as, the (1) theory Tests section, (2) Practical Tests section, Lab & (3) Lab Write-ups and Demonstrations of Labs section.

In order to have a mark assigned to the write-ups the student must produce attach the lab demonstration sign off sheet with all labs assigned off by the instructor as completed to the write-up book.

If a student misses a test he/she must have a valid reason (e.g. medical or family emergency). In addition, the school must be notified before the scheduled test sitting.

The student should contact the instructor involved. If the instructor cannot be reached leave a message with the Dean’s office or the College switchboard. If this procedure is not followed the student will receive a mark of zero on the test with no rewrite option.

The Instructor, if time permits, will summarize the main points of this course outline in the first Lecture. Student’s questions related to the course outline will be addressed at that time. The Instructor through out the course may also expand on particular items related to the course outline and the course requirements.

It is the responsibility of the student to read the course outlines and be aware of the course requirements.

Sault College email account:

Students are expected to maintain an active Sault College email account. They are further required to check this email account daily. The instructor may announce details of lab and test requirements and scheduling through the Sault College email system (as well as sharing other important information).

ELR 223 TABLE OF CONTENTS

##### LAB # 1 to 7 INTRODUCTION TO RS LOGIC 5000 & programming

1.	Familiarization to B 1050 Lab Environment and Equipment

2.	Familiarization with RS LOGIC 5000.

3.	Familiarization with programming PLCS with RS logic 5000

4.	Development Contrologix 5000 Programs offline and online

5.	Connect through hardwiring Contrologix 5000  hardware I / O

##### LAB# 8a & 8b THREE (3) MOTORS

1.	Familiarization with programming RS logic 5000 basic instructions

2.	Development Contrologix 5000 Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware I/O

##### LAB # 9a & 9b FORWARD & REVERSING A MOTOR

1.	Familiarization with programming Contrologix 5000  with RS logic 5000 basic instructions

2.	Development Contrologix 5000 Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware 1/0

##### LAB # 10, 11a, 11b  TIME STARTING OF Three (3) MOTORS

1.	Familiarization with programming Contrologix 5000  with RS logic 5000 timer instruction,

2.	Development Contrologix 5000  Programs offline and online

3.	Connect through hardwiring Contrologix 5000 hardware 110

##### LAB # 12a,b,c,d TIME STARTING OF SIX (6) MOTORS

1.	Familiarization with programming PLCS with RS logic 5000 timer & counter instruction,

2.	Development Contrologix 5000  Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware 110

LAB # 13a TIME STARTING OF SIX (6) MOTORS USING LIMIT TEST AND A TIMER

1.	Familiarization with programming Contrologix 5000  with RS logic 5000 limit test instructions

2.	Development Contrologix 5000  Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware I/O

LAB # 13b TIME STARTING OF SIX (6) MOTORS USING SEQUENCER  AND A TIMER

1.	Familiarization with programming PLCS with RS logic 5000 sequencer output  instructions

2.	Development Contrologix 5000  Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware I/O

LAB # 14A TRAFFIC LIGHTS WITH DELAYED REDS USING TIMERS

1.	Familiarization with programming Contrologix 5000  with RS logic 5000 Advance timer instructions

2.	Development Contrologix 5000  Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware I/O

LAB # 14B TRAFFIC LIGHTS WITH DELAYED REDS USING A TIMERS AND LIMIT TEST

1.	Familiarization with programming Contrologix 5000  with RS logic 5000 limit test& timer instructions

2.	Development Contrologix 5000  Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware I/O

LAB # 14C TRAFFIC LIGHTS WITH DELAYED REDS, FLASHING GREEN LIGHTS USING A TIMERS AND SEQUENCERS

1.	Familiarization with programming Contrologix 5000  with RS logic 5000 advance sequencer instructions

2.	Development Contrologix 5000  Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware 1/0

LAB # 15 A HMI FOR 1 MOTOR START/STOP

1.	Familiarization with programming Contrologix 5000  with RS logic 5000 and RSView 32 & output instructions

2.	Development Contrologix 5000  Programs offline and online

3.	Connect through hardwiring Contrologix 5000  hardware I/O & HMI

LAB # 15 B HMI FOR 3 MOTOR START/STOP

1.	Familiarization with programming Contrologix 5000  with RS logic 5000 and RSView 32 & output instructions

2.	Development PLCS Programs offline and online

3.	Connect through hardwiring PLCS hardware I/O

LAB # 15 C Creating a Trend Graph in RSLogix 5000 Software

1.	Familiarization with programming PLCS with RS logic 5000 trending

2.	Development PLCS Programs offline and online

3.	Connect through hardwiring PLCS hardware I/O

LAB # 16 Intro to ABB 1200 robots control with Flex Pendant

1.	Familiarization with controlling ABB 1200 robots with FlexPendant

2.	Development Basic Programs for ABB 1200 robots

General Lab Requirement for Write Ups

Lab 1 and Lab 2 require no write ups, the student only has to demonstrate these labs to the instructor and have them signed complete on their sheet.

###### Lab 1 through and including Lab 15 require write ups as outline below

1)	Labs shall have a ladder logic diagram print out including  all necessary rung by rung documentation such as addressing, instruction name and rung functions etc.

2)	Labs shall have a hardwire schematic CAD diagram of PLC and related equipment.

3)	Labs shall have an AutoCAD wiring diagram of the complete lab including all

Associated equipment Racks. Lights, switches, and wires.

4)	Labs shall have an I / O listing

5)	Labs shall have a brief description of operation and function in the student own words, typed in a word processor.

6)	All labs assignments must be turned in on hard copy and on computer disk before or no later than the last lab class of the semester. The disk will contain all programs, drawing in AutoCAD and word processor work.

7)	Labs must be computer generated and labs that require tables shall be done in a spread sheet or in a word processor the can produce a table. Hand written reports will not be accepted.

8)	Each lab may have specific requirement so read each lab carefully.

9)	If the student is not clear on any of the requirements, it is his/her’s responsibility to ask the instructor for clarification.

10) All lab reports are to include a title page with the following information

    - Lab title and number

    - Date Completed

    - Names of group members

    - Instructor’s name

11) Lab reports are to include all procedures, diagrams and observation etc required in this course outline for the lab write-up to be complete. The labs are to be in the order they were performed / demonstrated and numbered to match the lab handouts.

12) Every lab report is to conclude with a summary (whether requested in the lab document or not.) The summary is to be up to 1 page maximum (double spaced, Arial size 12 founts, maximum 1 inch margins) in length and is to be an analysis of the results that will include quantifying basic technical problems that may  have occurred during the project ( assigned lab), formulating alternative solution to these technical problems and suggesting  possible optimal solutions. The summary is not to be a regurgitation of the results, it is expected that the student will use course notes, library resources and the internet research to assist in writing lab summaries.

Labs submitted with a substandard summary will receive a grade of 0 (zero). One lab report submission per group.  Maximum 2 per group.

NOTE:

In order to maintain a passing grade the student must obtain a minimum 50% average in all subject sections that the course may have, such as, the (section 1) theory Tests, (section 2) Practical Tests, and (section 3)the Lab Write-ups and Demonstrations of Labs. All labs must function safely and correctly to be evaluated. The student must demonstrate all labs regardless of mark value to pass the course. Failure to demonstrate all correctly functioning lads will result in student being assessed F grade for ELR 223.

Methods of Evaluation

Demonstration of Labs, Lab write-ups and tests etc. will constitute a total of 100% of your ELR 223 course mark. The distribution of marks is as stated in the previous pages.

NOTES:

- Attendance is compulsory and may be taken each and every lab class or at random.

- ONE half percent per lab class will be deducted for each schedule lab class missed without permission by a student from his final grade up to a maximum of 8%.

- Students missing any lab classes will still be responsible to have the particular lab completed, not simply copied from other student. You must indicate to the instructor when you plan to do the lab, you will be responsible for making arrangements to complete the lab and demonstrate it to the instructor.

- All drawings or diagrams must be done in AutoCAD or instructor approved drawing program.

- All labs will contain the material that was stated in previous pages

- All labs must be demonstrated and signed off by instructor before any of the labs write up can be marked.

- The Lab completion sign off sheet must be in the front of the lab write-up book. When write-up are turned in for marking

- All labs must be turned in, in a binder, in order, by the last lab class of the course for marking. The labs turned in after this time will be deducted 5% per day late. No labs will be accepted for marking after the Friday noon of the last week of classes. No labs turned in will result in the student obtaining an F ( fail ) grade

- All labs must be signed by the instructor at the completion of each and every lab shop portion during the schedule lab class. Therefore when you have completed the lab steps and demonstrated the lab to the instructor, he/she will sign the lab and you may proceed with the next lab assignment. Auto Cad drawings, and all other lab requirements must be met before the labs can be handed in for marking.

- The student must demonstrate all lab projects assigned to the instructor to his/her satisfaction before the student can have the lab project signed by the instructor as being complete.

- The instructor may alter or give particular instructions, or additional instructions on a per lab bases

REMEMBER:

Read all labs completely and any additional material that is included or handed out by the instructor that pertains to the labs. The student is responsible to make sure that he / she have read all material pertaining to a lab before starting the lab.

ALL students must Demonstrate all labs to the instructor and have the instructor sign your sheet that each lab was completed successfully. The sheet will be given to you by the instructor during the first lab period.

Note: the sheet discussed above must be turned in with the lab write ups during the last lab class of the semester with all labs signed on the sheet and demonstrated to the instructor.

Again : All labs must function safely and correctly to be evaluated. The student must demonstrate all labs regardless of mark value to pass the course. Failure to demonstrate all lads will result in student being assessed F grade for ELR 223.

If the sheet is not with the lab write ups. The write ups will not be accepted for marking until the student re-demonstrates selected labs which the instructor will select as proof that the student has successfully completed the practical parts of the labs. The student will have to make arrangements with the instructor for a time to demonstrate his/her practical skill. If the student is successful in the practical demonstration his/her labs will be evacuated as if the student had turned in their signed sheet.

YOU ARE RESPONSIBLE FOR YOUR SHEET         NO EXCUSES WILL BE ACCEPTED

Student Evaluation Sheet

Student’s name______________________________________

| Due Date | Lab # | Description | Demo Mark | Instructors Signature | Write-up mark |
| --- | --- | --- | --- | --- | --- |
| Jan 22 | 1-7 | Intro Labs 1 to 7 | 7mk | 1,2,3,4,5,6,7 | 0mk |
| Jan 29 | 8a -8b | 3 Motors | 4mk | 8a, 8b | 6mk |
| Feb 5 | 9a -9b | F & R A Motors | 4mk | 9a, 9b | 6mk |
| Feb 12 | 10,11a-b | Both Push On / Push Off , 3 Motor Time Start and | 6mk | 10, 11a, 11b | 6mk |
| Feb 19 | 12a, 12b | Time Starting 6 Motors | 6mk | 12a, 12b | 10mk |
| Feb 26 | 12c 12d | Time Starting 6 Motors | 8mk | 12c, 12d | 10mk |
| Mar 4 | 13a | Starting 6 Motors Using Limit Test etc | 5mk | 13a | 10mk |
| Final Dealine For the These labs | 1,2,3,4,5, 6,7,,8ab 9ab,10, 11ab, 12abcd,13a | All labs 1 through 13a must be demo by Mar 7 to receive the demo mark associated with the above labs. |  | Failure to demo working labs will result in a grad of zero for labs not demonstrated |  |
|  | Mar 7 | Practical test | xxxxxx | xxxxxxxxxxxxxxxx | xxxxxx |
| xxxxxx | Mar 10 | Break | xxxxxx | xxxxxxxxxxxxxxxx | xxxxxx |
| Mar 25 | 13b | Starting 6 Motors Using Sequencer Output etc | 15mk | 13b | 15mk |
| Apr 1 | 14a | Traffic Lights with timers | 10mk | 14a | 10mk |
| Apr 8 | 14b | Traffic Lights Limit Test | 10mk | 14b | 10mk |
| Apr 15 | 14c | Traffic Lights Sequencers | 10mk | 14c | 10mk |
| Apr 22 | 15 a,b,c | HMI for 1 Motor Start/Stop & HMI 3 Motor Start & Creating Trend | 15mk | 15a,15b,15c | 12mk |
| Last W |  |  |  |  |  |
| Final Dealine For the These labs | 13b,14abc 15abc | All labs 13a through 15c must be demo by April 25 to receive the demo mark associated with the above labs. |  | Failure to demo working labs will result in a grad of zero for labs not demonstrated | xxxxxx |
|  |  | Total Marks | 100mk |  | 100 Mk |

Note All Labs must be demonstrated to instructor on or before the last lab class of the semester . All labs must operate safely and correctly and too the satisfaction of the instructor. Any labs not demonstrated or deemed incomplete or not correctly functioning by final due date will result in the student receiving an F grade for this course.  Again ALL LABS MUST BE COMPLETE AND DEMONSTRATED .

STUDENT   COURSE   AGREEMENT   (Please print)

# I, _________________________________________ student ID # _________

# with regards to the course known as ELR 223 PLC CONTROL SYSTEMS

COURSE CODE #  ELR 223 have read and understood the course content, outline and expectations which clearly states the following:

- Absolutely no make up tests or exams will be administered with the exceptions of personal illness or death of an immediate family member both requiring written verification.

- All labs must be handed in by the due date or a grade of 0 will be awarded.

- Lab & lecture attendance are compulsory. Any lecture notes, lab assignments etc. missed will become the student’s responsibility to retrieve from another student.

- Lab or lecture quizzes can be presented at anytime without prior notification.

- All Labs must be completed during assigned Lab times unless prior approval is obtained form the instructor.

- Students must be able to demonstrate labs that are assigned by the instructor after the due date if requested by the instructor. Each student must be sure that he / she can duplicate the lab that they turned in on or before the due date. If the student cannot duplicate the lab to the satisfaction of the instructor, a grade of 0% will be assessed to that particular lab. Demonstration request will be at the discretion of the instructor.

- In order to maintain a passing grade the student must obtain a minimum 50% average in all subject sections that the course may have, such as, the (section 1) theory Tests, (section 2) Practical Tests, and (section 3)the Lab Write-ups and Demonstrations of Labs. All labs must function safely and correctly to be evaluated. The student must demonstrate all labs regardless of mark value to pass the course. Failure to demonstrate all correctly functioning lads will result in student being assessed F grade for ELR 223.

- Students must supply their own hand tools, meters and safety glasses. Students will not be permitted in the lab without PPE and the student must wear the PPE whenever working on live equipment. Students must never work alone in the lab. Unsafe work habits, improper behavior will not be tolerated.

- I have read and understand the requirements outlined above and in the course outline.

_________________________			__________________

(Student’s Signature)				(Date)