SAULT COLLEGE OF APPLIED ARTS AND TECHNOLOGY SAULT STE. MARIE, ONTARIO Sault College # COURSE OUTLINE. COURSE TITLE:; Water Supply and Treatment. CODE NO. :; WTR 201; SEMESTER:; IV. PROGRAM:; Environmental Technician-Water. AUTHOR:; Subhash Verma, P.Eng. DATE:; April, 2005; PREVIOUS OUTLINE DATED:; June 1997. APPROVED:. ## __________________________________ ## DEAN; _______ DATE. TOTAL CREDITS:; 5. PREREQUISITE:; CHM 211. HOURS/WEEK: 5. ## Sault College of Applied Arts & Technology Reproduction of this document by any means, in whole or in part, without prior ## Written permission of Sault College of Applied Arts & Technology is prohibited.. ## For additional information, please contact Colin Kirkwood, Dean. School of Technology, Business & Natural Resources. (705) 759-2554, Ext.2688.

I.	PHILOSOPHY/GOALS:

To present basic knowledge and practices, theories and applications relevant to sources of water supply, treatment processes, quality parameters and plant operations.

II.	LEARNING OUTCOMES AND ELEMENTS OF THE PERFORMANCE:

Upon successful completion of this course the student will demonstrate the following:

1.  Describe the water quality parameter and identify various types of water treatment processes.

 understand the importance of safe drinking water

 name main water treatment process

 perform dosage and dosage rate calculations

 prepare solutions of desired strengths and determine feed rates

2.  Understand the principle of coagulation and flocculation and factors affecting these processes.

 name commonly used coagulants and coagulant aids

 work the stoichiometric requirement of the coagulants

 compare slow mixing and rapid or flash mixing

 perform jar testing to optimize coagulant dose

3.  Describe the sedimentation units and solid contact units.

 describe four zones of sedimentation

 show the main application of solid contact units

 calculate detention time, overflow rate and mean flow velocity

 estimate the quantity of chemical sludge produced

4.  Understand the importance of filtration and describe the factors affecting the

performance efficiency,

 compare slow and rapid sand filtration

 list main compounds of a gravity filter system

 describe the operation control of filtration

 calculate filtration rate and unit filter run volume

5.  Describe various methods of disinfecting water.

 name chlorine compounds commonly used for water supplies

 understand the various phases of break point chlorination

 operate and control chlorination equipment

 calculate desired dosages and quantities of hypochlorite required to make chlorine 	 	  solutions

II.	LEARNING OUTCOMES AND ELEMENTS OF THE PERFORMANCE CONT’D

6.  Describe the chemistry of water softening.

 name minerals causing hardness in water

 the methods of softening water

 calculate hardness based on iron content

 calculate the lime and soda-ash dosages

7.  Describe the treatment methods for control of iron, manganese and taste and odour problem

in drinking water supplies.

 describe various methods of iron and manganese control

 identify the substances causing taste and odour problems

 compare aggressive and scaling water

 identify major factors affecting corrosion

III.	TOPICS:

1.0	INTRODUCTION

2.0	COAGULATION AND FLOCCULATION

3.0	SEDIMENTATION

4.0	FILTRATION

5.0	DISINFECTION

6.0	FLUORIDATION

7.0	SOFTENING

8.0	IRON AND MANGANESE CONTROL

9.0	ADSORPTION

10.0	STABILIZATION

| IV. | REQUIRED RESOURCES/TEXTS/MATERIALS: Water and Wastewater Technology by Mark J. Hammer and Hammer Junior, Prentice Hall, 5th edition, 2004 Laboratory and course Manual by S. Verma, Sault College, 2000 |
| --- | --- |

| V. | EVALUATION PROCESS/GRADING SYSTEM: Final mark in the course will be based on: Laboratory Work - 25% Tests - 55% Quiz & Assignments - 20% A passing grade will be based on a composite grading of 50%. |
| --- | --- |

|  | Grade | Definition | Grade Point Equivalent |
| --- | --- | --- | --- |
|  | A+ | 90 - 100% | 4.00 |
|  | A | 80 - 89% | 4.00 |
|  | B | 70 - 79% | 3.00 |
|  | C | 60 - 69% | 2.00 |
|  | D | 50 - 59% | 1.00 |
|  | F (Fail) | < 50% | 0.00 |
|  | CR (Credit) | Credit for diploma requirements has been awarded. |  |
|  | S | Satisfactory achievement in field /clinical placement or non-graded subject area. |  |
|  | U | Unsatisfactory achievement in field/clinical placement or non-graded subject area. |  |
|  | X | A temporary grade limited to situations with extenuating circumstances giving a student additional time to complete the requirements for a course. |  |
|  | NR | Grade not reported to Registrar's office. |  |
|  | W | Student has withdrawn from the course without academic penalty. |  |

| VI. | SPECIAL NOTES: |
| --- | --- |
|  | Special Needs: If you are a student with special needs (e.g. physical limitations, visual impairments, hearing impairments, or learning disabilities), you are encouraged to discuss required accommodations with your instructor and/or the Special Needs office. Visit Room E1204 or call Extension 493, 717, or 491 so that support services can be arranged for you. |
|  | Retention of course outlines: It is the responsibility of the student to retain all course outlines for possible future use in acquiring advanced standing at other postsecondary institutions. |
|  | Plagiarism: Students should refer to the definition of “academic dishonesty” in Student Rights and Responsibilities. Students who engage in “academic dishonesty” will receive an automatic failure for that submission and/or such other penalty, up to and including expulsion from the course/program, as may be decided by the professor/dean. In order to protect students from inadvertent plagiarism, to protect the copyright of the material referenced, and to credit the author of the material, it is the policy of the department to employ a documentation format for referencing source material. |
|  | Course outline amendments: The Professor reserves the right to change the information contained in this course outline depending on the needs of the learner and the availability of resources. |
|  | Substitute course information is available in the Registrar's office. |
|  | Assignments/Laboratory Work: Home assignments are due one week after they are assigned. Late submissions will be penalized. Laboratory work is an important component of this course. Performing laboratory experiments will reinforce the concepts discussed in the theory class. If required, changes will be made. However, students will be notified prior to any changes. |
| VII. | PRIOR LEARNING ASSESSMENT: |
|  | Students who wish to apply for advanced credit in the course should consult the instructor. |
| VIII. | DIRECT CREDIT TRANSFERS: Students who wish to apply for direct credit transfer (advanced standing) should obtain a direct credit transfer form from the Dean’s secretary. Students will be required to provide a transcript and course outline related to the course in question. |